**Cabled-8\_RR1713-RR1717\_Discrete\_Summary Information:**

**File Mapping:**

Hex files were renamed from the original ship-provided files for consistency and ease of processing. Original file names are listed below on the left, with corresponding new file names on the right.

CTD01 = RR1713\_CTD-001

CTD02 = RR1713\_CTD-002

CTD03 = RR1713\_CTD-003

CTD04 = RR1713\_CTD-004

CTD05 = RR1713\_CTD-005

CTD06 = RR1713\_CTD-006

CTD07 = RR1713\_CTD-007

CTD08 = RR1713\_CTD-008

CTD09 = RR1713\_CTD-009

CTD10 = RR1713\_CTD-010

CTD11 = RR1714\_CTD-011

CTD12 = RR1714\_CTD-012

CTD13 = RR1714\_CTD-013

CTD14 = RR1714\_CTD-014

**Summary Notes:**

RR1713, CTD-004, Cast flag: “2-minute hold at 10 meters”

RR1713, CTD-005, Cast flag: “No hold at 10 meters”

RR1714, CTD-014, Cast flag: “Caught a bull kelp”

**General File Notes:**

* Discrete sample fields containing text or non-decimal numbers (“DIC-###”, “CH-##”, “OX-###”, “SA####”, or “673”) list sample bottle numbers and not analyzed data. Bottle numbers are included when data are not yet available, and will be replaced with analysis results as data are received from analysis labs.
* Fill value = -9999999
* Carbon analysis was provided by Burke Hales lab at Oregon State University. Calculated carbon parameters were provided by Hales using custom software routines using published values for the various carbon chemistry constants. Hale’s lab provides the following references regarding constants used in the calculations. For further information, please contact Burke Hales (bhales@coas.oregonstate.edu).
  + Carbonic acid dissociation constants: Millero (2010), with full resolution constants provided by Millero via private conversation, equal to Lueker’s constants at S > 25).
  + Kw: Millero (1995)
  + Kb: Dickson (1990)
  + Ksp for calcite and aragonite: Mucci (1980)
  + Kh: Weiss (1973)
  + Alkalnity is modeled as: HCO3- + 2CO3= + B(OH)4- + OH- - H+

**Data Flag bit maps:**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Bit Position** | **Cast Flags** | | **CTD File Flags** | **CTD Parameter Flags** | **Niskin Flags** | **Discrete Sample Flags** | **Discrete Duplicate Flags** |
| **0** | Notes/Other | | Notes/Other | Notes/Other | Notes/Other | Notes/Other | Notes/Other |
| **1** | Delayed start to data collection | | Data cast only, no Niskins triggered | Not calibrated | Bottle information unavailable | Sample for this measurement was drawn from water bottle but analysis not received. | Duplicate analysis on same sample |
| **2** | Acceptable; normal cast according to SOP | | Acceptable; file processed according to SOP | Acceptable measurement | No problems noted | Acceptable; sample processed according to SOP | Single sample |
| **3** | Non-standard winch speed | | File processed using modified parameters | Questionable measurement | Leaking | Questionable measurement | Duplicate analysis from same Niskin |
| **4** | Non-standard surface soak time | | File processed using alternate XMLCON | Bad measurement | Ran out of water during sampling | Bad measurement | Triplicate analysis from same Niskin |
| **5** | Non-standard bottle soak time before Niskin trip | | Missing scans as indicated by modulo error counts | Not reported | Vent open | Not reported | Unassigned |
| **6** | Sensor issues but cast completed and data collected | | Missing metadata | Calibration coefficients > 1 year old | Misfire at wrong depth | Sample collected out of order | Unassigned |
| **7** | Cable issues but cast completed and data collected | | Unassigned | Corresponding discrete sample | Unknown problem | Sample processed using alternative method; see notes | Unassigned |
| **8** | Winch issues but cast completed and data collected | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
| **9** | Premature cast end with data and/or data loss | | Unassigned | Unassigned | Sample not drawn for this measurement from this bottle | Unassigned | Unassigned |
| **10** | Significant ship heave | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
| **11** | Station position not adequately maintained during cast | | Unassigned | Unassigned | Unassigned |  | Unassigned |
| **12** | Tow-yo, Yo-yo cast | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
| **13** | ROV bottle sample | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
| **14** | Unassigned | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
| **15** | Unassigned | | Unassigned | Unassigned | Unassigned | Unassigned | Unassigned |
|  | |  | | | | | |