## Chl
PIONEER 4 LEG 2
Cruise #: | Date | Station Start Time (UTC) | Station End Time (UTC) | Niskin Trip Time | Lat | Lon | Station Depth | Station-Cast # | Niskin # | Trip Depth | Brown Bottle # | Replicate | Water Depth Rep | Filter Sample # | Vol Filt | Filter Size | Vol Extracted | Sample | 90% Acetone | Dilution During Reading | Chl_Cal_Filename | tau_Calibration | Fd_Calibration | Rb | Ra | blank | Rb-blank | Ra-blank | Chl (ug/l) | Phaeo (ug/l) | Cal_Date | Fluorometer | Comments
AT27-B | 2015-05-07 | 4:22 |  | 4:32 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 1 | 150 | 1 | a | a | 1/1 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 124.9 | 89.24 | 0.90933 | 123.9907 | 88.3307 | 0.16815 | 0.19671
AT27-B | 2015-05-07 | 4:22 |  | 4:32 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 2 | 150 | 2 | a | b | 1/2 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 124.2 | 90.55 | 0.94283 | 123.2572 | 89.6072 | 0.15867 | 0.21146
AT27-B | 2015-05-07 | 4:22 |  | 4:36 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 3 | 84 | 3 | a | a | 1/3 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 128.4 | 97.47 | 0.94283 | 127.4572 | 96.5272 | 0.14585 | 0.25287 |  | O2 min
AT27-B | 2015-05-07 | 4:22 |  | 4:36 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 4 | 84 | 4 | a | b | 1/4 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 127.7 | 93.05 | 0.94283 | 126.7572 | 92.1072 | 0.16339 | 0.21707
AT27-B | 2015-05-07 | 4:22 |  | 4:40 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 5 | 32.5 | 5 | a | a | 1/5 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 578.8 | 358.3 | 0.94283 | 577.8572 | 357.3572 | 2.0795 | 0.87272 |  | salt max
AT27-B | 2015-05-07 | 4:22 |  | 4:40 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 5 | 32.5 | 5 | a | a | 1/5 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 269.7 | 167.1 | 0.94283 | 268.7572 | 166.1572 | 2.9028 | 1.2152 |  | salt max | dilution after high reading
AT27-B | 2015-05-07 | 4:22 |  | 4:40 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 6 | 32.5 | 6 | a | b | 1/6 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 565.6 | 359.4 | 0.94283 | 564.6572 | 358.4572 | 1.9446 | 1.0167 |  |  | top piece of testtube broek in fridge
AT27-B | 2015-05-07 | 4:22 |  | 4:40 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 6 | 32.5 | 6 | a | b | 1/6 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 224.1 | 143.1 | 0.94283 | 223.1572 | 142.1572 | 2.2917 | 1.2315 |  |  | top piece of testtube broek in fridge | dilution after high reading
AT27-B | 2015-05-07 | 4:22 |  | 4:44 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 7 | 1.5 | 7 | a | a | 1/7 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 529.8 | 326.3 | 0.94283 | 528.8572 | 325.3572 | 1.9192 | 0.76869 |  | chl max
AT27-B | 2015-05-07 | 4:22 |  | 4:44 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 7 | 1.5 | 7 | a | a | 1/7 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 230.4 | 145.7 | 0.94283 | 229.4572 | 144.7572 | 2.3964 | 1.1913 |  | chl max | dilution after high reading
AT27-B | 2015-05-07 | 4:22 |  | 4:44 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 8 | 1.5 | 8 | a | b | 1/8 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 697.7 | 421.3 | 0.94283 | 696.7572 | 420.3572 | 2.6067 | 0.866
AT27-B | 2015-05-07 | 4:22 |  | 4:44 | 40° 5.033' N | 70° 22.624' W | 158 | 1 | 8 | 1.5 | 8 | a | b | 1/8 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 258.4 | 157.1 | 0.94283 | 257.4572 | 156.1572 | 2.866 | 1.0041 |  |  | dilution after high reading
AT27-B | 2015-05-07 | 22:07 |  | 22:15 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 1 | 127 | 1 | a | a | 2/1 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 82.23 | 61.49 | 0.94283 | 81.2872 | 60.5472 | 0.097798 | 0.1523
AT27-B | 2015-05-07 | 22:07 |  | 22:15 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 2 | 127 | 2 | a | b | 2/2 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 70.47 | 52.68 | 0.94283 | 69.5272 | 51.7372 | 0.083888 | 0.12982
AT27-B | 2015-05-07 | 22:07 |  | 22:19 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 3 | 70 | 3 | a | a | 2/3 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 131 | 102.2 | 0.94283 | 130.0572 | 101.2572 | 0.1358 | 0.28245
AT27-B | 2015-05-07 | 22:07 |  | 22:19 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 4 | 70 | 4 | a | b | 2/4 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 141.6 | 108.3 | 0.94283 | 140.6572 | 107.3572 | 0.15702 | 0.28643
AT27-B | 2015-05-07 | 22:07 |  | 22:24 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 5 | 22 | 5 | a | a | 2/5 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 558.2 | 343.9 | 0.94283 | 557.2572 | 342.9572 | 2.021 | 0.81223
AT27-B | 2015-05-07 | 22:07 |  | 22:24 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 5 | 22 | 5 | a | a | 2/5 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 221.2 | 134 | 0.94283 | 220.2572 | 133.0572 | 2.4671 | 0.83055 |  |  | dilution after high reading
AT27-B | 2015-05-07 | 22:07 |  | 22:24 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 6 | 22 | 6 | a | b | 2/6 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 546.3 | 333.8 | 0.94283 | 545.3572 | 332.8572 | 2.0041 | 0.74577
AT27-B | 2015-05-07 | 22:07 |  | 22:24 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 6 | 22 | 6 | a | b | 2/6 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 246.5 | 148.3 | 0.94283 | 245.5572 | 147.3572 | 2.7783 | 0.87374 |  |  | dilution after high reading
AT27-B | 2015-05-07 | 22:07 |  | 22:27 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 7 | 7.4 | 7 | a | a | 2/7 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 562.5 | 327.5 | 0.90933 | 561.5907 | 326.5907 | 2.2163 | 0.4818
AT27-B | 2015-05-07 | 22:07 |  | 22:27 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 7 | 7.4 | 7 | a | a | 2/7 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 192.1 | 112.9 | 0.90933 | 191.1907 | 111.9907 | 2.2408 | 0.53479 |  |  | dilution after high reading
AT27-B | 2015-05-07 | 22:07 |  | 22:27 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 8 | 7.4 | 8 | a | b | 2/8 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 536.5 | 319.4 | 0.94283 | 535.5572 | 318.4572 | 2.0474 | 0.58342
AT27-B | 2015-05-07 | 22:07 |  | 22:27 | 40° 8.200' N | 70° 46.497' W | 135 | 2 | 8 | 7.4 | 8 | a | b | 2/8 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 220.9 | 127.7 | 0.94283 | 219.9572 | 126.7572 | 2.6369 | 0.50466 |  |  | dilution after high reading
AT27-B | 2015-05-09 | 14:10 |  | 14:28 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 1 | 484 | 1 | a | a | 4/1 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 25.55 | 20.62 | 0.94283 | 24.6072 | 19.6772 | 0.023247 | 0.058032
AT27-B | 2015-05-09 | 14:10 |  | 14:28 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 2 | 484 | 2 | a | b | 4/2 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 24.89 | 19.74 | 0.94283 | 23.9472 | 18.7972 | 0.024284 | 0.05336
AT27-B | 2015-05-09 | 14:10 |  | 14:37 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 3 | 200 | 3 | a | a | 4/3 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 38.35 | 29.18 | 0.94283 | 37.4072 | 28.2372 | 0.043241 | 0.073397
AT27-B | 2015-05-09 | 14:10 |  | 14:37 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 4 | 200 | 4 | a | b | 4/4 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 36.3 | 26.19 | 0.94283 | 35.3572 | 25.2472 | 0.047673 | 0.056614
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 5 | 26 | 5 | a | a | 4/5 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 708.8 | 506.3 | 0.94283 | 707.8572 | 505.3572 | 1.9098 | 2.2651 |  | chl max
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 5 | 26 | 5 | a | a | 4/5 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 439.3 | 304.3 | 0.94283 | 438.3572 | 303.3572 | 3.8195 | 3.6989 |  | chl max | 1st dilution, extra drop of extract when pipetted?
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 5 | 26 | 5 | a | a | 4/5 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 419.5 | 296.9 | 0.94283 | 418.5572 | 295.9572 | 3.4687 | 3.8663 |  | chl max | 2nd diff dilution
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 6 | 26 | 6 | a | b | 4/6 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 798 | 557.7 | 0.94283 | 797.0572 | 556.7572 | 2.2662 | 2.3333 |  | chl max
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 6 | 26 | 6 | a | b | 4/6 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 421.9 | 295.3 | 0.94283 | 420.9572 | 294.3572 | 3.5818 | 3.7135 |  | chl max | 1st dilution post-extraction
AT27-B | 2015-05-09 | 14:10 |  | 14:46 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 6 | 26 | 6 | a | b | 4/6 | 1070 | 0 | 10 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 398 | 291.9 | 0.94283 | 397.0572 | 290.9572 | 3.0018 | 4.2092 |  | chl max | 2nd diff dilution post-extraction
AT27-B | 2015-05-09 | 14:10 |  | 14:48 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 7 | 2 | 7 | a | a | 4/7 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 218.4 | 138.1 | 0.94283 | 217.4572 | 137.1572 | 0.7573 | 0.3758
AT27-B | 2015-05-09 | 14:10 |  | 14:48 | 39° 56.587' N | 70° 49.535' W | 495 | 4 | 8 | 2 | 8 | a | b | 4/8 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 300.1 | 170.6 | 0.94283 | 299.1572 | 169.6572 | 1.2213 | 0.18029
AT27-B | 2015-05-10 | 1:51 |  | 2:08 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 1 | 438 | 1 | a | a | 05/01 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 29.25 | 21.34 | 0.90933 | 28.3407 | 20.4307 | 0.037299 | 0.047093
AT27-B | 2015-05-10 | 1:51 |  | 2:08 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 2 | 438 | 2 | a | b | 05/02 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 25.68 | 19.24 | 0.94283 | 24.7372 | 18.2972 | 0.030367 | 0.045212
AT27-B | 2015-05-10 | 1:51 |  | 2:13 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 3 | 226 | 3 | a | a | 05/03 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 28.84 | 21.93 | 0.94283 | 27.8972 | 20.9872 | 0.032584 | 0.054107
AT27-B | 2015-05-10 | 1:51 |  | 2:13 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 4 | 226 | 4 | a | b | 05/04 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 28.91 | 21.22 | 0.94283 | 27.9672 | 20.2772 | 0.036262 | 0.047496
AT27-B | 2015-05-10 | 1:51 |  | 2:23 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 5 | 17.5 | 5 | a | a | 05/05 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 1101 | 659.6 | 0.94283 | 1100.0572 | 658.6572 | 4.1628 | 1.2786
AT27-B | 2015-05-10 | 1:51 |  | 2:23 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 5 | 17.5 | 5 | a | a | 05/05 | 1070 | 0 | 10 | 1 | 0 | 0.25 | Cal_120915_12mm | 1.876 | 0.4712 | 347.5 | 230.1 | 0.94283 | 346.5572 | 229.1572 | 4.4287 | 3.1438 |  |  | dilution post-extraction after high reading
AT27-B | 2015-05-10 | 1:51 |  | 2:23 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 6 | 17.5 | 6 | a | b | 05/06 | 1070 | 0 | 5 | 1 | 0 | 0.5 | Cal_120915_12mm | 1.876 | 0.4712 | 1344 | 838 | 0.94283 | 1343.0572 | 837.0572 | 4.772 | 2.1431
AT27-B | 2015-05-10 | 1:51 |  | 2:23 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 6 | 17.5 | 6 | a | b | 05/06 | 1070 | 0 | 5 | 1 | 0 | 0.125 | Cal_120915_12mm | 1.876 | 0.4712 | 384.9 | 251.9 | 0.94283 | 383.9572 | 250.9572 | 5.0172 | 3.2757 |  |  | dilution post-extraction after high reading
AT27-B | 2015-05-10 | 1:51 |  | 2:25 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 7 | 6.5 | 7 | a | a | 05/07 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 323.2 | 189.3 | 0.94283 | 322.2572 | 188.3572 | 1.2628 | 0.29328
AT27-B | 2015-05-10 | 1:51 |  | 2:25 | 39° 56.400' N | 70° 53.001' W | 449 | 5 | 8 | 6.5 | 8 | a | b | 05/08 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 361.6 | 217.1 | 0.94283 | 360.6572 | 216.1572 | 1.3628 | 0.42298
AT27-B | 2015-05-11 | 19:50 |  | 19:57 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 1 | 87 | 1 | a | a | 06/01 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 276.4 | 187.6 | 0.94283 | 275.4572 | 186.6572 | 0.41873 | 0.35228
AT27-B | 2015-05-11 | 19:50 |  | 19:57 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 2 | 87 | 2 | a | b | 06/02 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 273.5 | 193.2 | 0.90933 | 272.5907 | 192.2907 | 0.37865 | 0.41563
AT27-B | 2015-05-11 | 19:50 |  | 20:01 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 3 | 45 | 3 | a | a | 06/03 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 236.4 | 152.4 | 0.94283 | 235.4572 | 151.4572 | 0.3961 | 0.22952
AT27-B | 2015-05-11 | 19:50 |  | 20:01 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 4 | 45 | 4 | a | b | 06/04 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 249.8 | 165 | 0.94283 | 248.8572 | 164.0572 | 0.39987 | 0.27779
AT27-B | 2015-05-11 | 19:50 |  | 20:04 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 5 | 24.5 | 5 | a | a | 06/05 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 653.8 | 387.7 | 0.94283 | 652.8572 | 386.7572 | 1.2548 | 0.34278
AT27-B | 2015-05-11 | 19:50 |  | 20:04 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 5 | 24.5 | 5 | a | a | 06/05 | 1070 | 0 | 5 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 232.6 | 135.7 | 0.94283 | 231.6572 | 134.7572 | 1.3708 | 0.29912 |  |  | dilution post-extraction after high reading
AT27-B | 2015-05-11 | 19:50 |  | 20:04 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 6 | 24.5 | 6 | a | b | 06/06 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 671.9 | 396.2 | 0.94283 | 670.9572 | 395.2572 | 1.3 | 0.33262
AT27-B | 2015-05-11 | 19:50 |  | 20:04 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 6 | 24.5 | 6 | a | b | 06/06 | 1070 | 0 | 5 | 1 | 0 | 0.33333 | Cal_120915_12mm | 1.876 | 0.4712 | 236.2 | 136.4 | 0.94283 | 235.2572 | 135.4572 | 1.4118 | 0.26677 |  |  | dilution post-extraction after high reading
AT27-B | 2015-05-11 | 19:50 |  | 20:06 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 7 | 7.4 | 7 | a | a | 06/07 | 1070 | 0 | 10 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 269.6 | 165.1 | 0.94283 | 268.6572 | 164.1572 | 0.98553 | 0.37062
AT27-B | 2015-05-11 | 19:50 |  | 20:06 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 8 | 7.4 | 8 | a | b | 06/08 | 1070 | 0 | 5 | 1 | 0 | 1 | Cal_120915_12mm | 1.876 | 0.4712 | 708.3 | 436.2 | 0.90933 | 707.3907 | 435.2907 | 1.2831 | 0.51496
AT27-B | 2015-05-11 | 19:50 |  | 20:06 | 40° 21.799' N | 70° 52.997' W | 96 | 6 | 8 | 7.4 | 8 | a | b | 06/08 | 1070 | 0 | 5 | 1 | 0 | 0.25 | Cal_120915_12mm | 1.876 | 0.4712 | 188.8 | 115.1 | 0.90933 | 187.8907 | 114.1907 | 1.3901 | 0.49661

## Cal_120915_12mm
Calibration Date | Cruise_Site | Fluorometer | Personell | CALIBRATION | Blank_Acetone | AvgBlank | Dilution | ug_l | Flurometer_Before_Acid | Fluorometer_After_Acid | Fluorometer_Before_Acid-AvgBlank | Fluorometer_After_Acid-AvgBlank | Acid_Ratio__Before-AvgBlank/After-AvgBlank | Fd__Chl/Before-AvgBlank | tau | Fd
2015-12-09 | mvco | Turner Designs Aquafluor Handheld 800446 | taylor | Cal_120915_12mm | 1.061 | 0.99083 | full(on spec) | 11520.4962
[5 empty] | 0.974 |  | 20 | 576.0248 | 1220 | 649.6 | 1219.0092 | 648.6092 | 1.8794 | 0.47254 | 1.876 | 0.4712 | 1.876 | 1.9
[5 empty] | 1.028 |  | 40 | 288.0124 | 608.8 | 327.9 | 607.8092 | 326.9092 | 1.8593 | 0.47385 |  |  | 1.876 | 1.9
[5 empty] | 0.819 |  | 80 | 144.0062 | 318.3 | 169.5 | 317.3092 | 168.5092 | 1.883 | 0.45384 | old averages |  | 1.876 | 1.9
[5 empty] | 0.928 |  | 160 | 72.0031 | 164.2 | 87.22 | 163.2092 | 86.2292 | 1.8927 | 0.44117 | 1.9 | 0.42662 | 1.876 | 1.9
[5 empty] | 1.135 |  | 320 | 36.0016 | 84.03 | 45.15 | 83.0392 | 44.1592 | 1.8805 | 0.43355 |  |  | 1.876 | 1.9
[7 empty] | 640 | 18.0008 | 44.93 | 24.24 | 43.9392 | 23.2492 | 1.8899 | 0.40967 |  |  | 1.876 | 1.9
[7 empty] | 1280 | 9.0004 | 23.14 | 12.9 | 22.1492 | 11.9092 | 1.8598 | 0.40635 |  |  | 1.876 | 1.9
[7 empty] | 2560 | 4.5002 | 12.21 | 6.821 | 11.2192 | 5.8302 | 1.9243 | 0.40112 |  |  | 1.876 | 1.9
[7 empty] | 5120 | 2.2501 | 6.753 | 3.946 | 5.7622 | 2.9552 | 1.9499 | 0.39049 |  |  | 1.876 | 1.9
[7 empty] | 10240 | 1.125 | 3.775 | 2.413 | 2.7842 | 1.4222 | 1.9577 | 0.40409 |  |  | 1.876 | 1.9
[7 empty] | 20480 | 0.56252 | 2.376 | 1.711 | 1.3852 | 0.72017 | 1.9234 | 0.40611 |  |  | 1.876 | 1.9
[6 empty] | 2015-12-09 | 573.7185 | [8 empty] | *** The 1/20 dilution was done using a 5ml volumetric flask of chl-a stock into 100ml volumetric diluted with 90% acetone
0.0498
20.0804