## Chl
IRMINGER 1
Cruise #: | Date | Station Start Time (UTC) | Station End Time (UTC) | Niskin Trip Time | Lat | Lon | Station Depth | Station-Cast # | Niskin # | Trip Depth | Brown Bottle # | Replicate | Water Depth Rep | Filter Sample # | Vol Filt | Filter Size | Vol Extracted | Sample | 90% Acetone | Dilution During Reading | Chl_Cal_Filename | tau_Calibration | Fd_Calibration | Rb | Ra | blank | Rb-blank | Ra-blank | Chl (ug/l) | Phaeo (ug/l) | Cal_Date | Fluorometer | Comments
KN-221 | 2014-09-08 | 23:18 |  |  | 61° 39.462' N | 33° 4.630' W | 2976 | 4 | 13 | 72 | 1 | a | a | 04 / 01 | 1057 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 92.62 | 62.53 | 0.88343 | 91.7366 | 61.6466 | 0.1507 | 0.11867 | 2013-04-03
KN-221 | 2014-09-08 | 23:18 |  |  | 61° 39.462' N | 33° 4.630' W | 2976 | 4 | 17 | 51 | 2 | a | a | 04 / 02 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 158 | 103 | 0.88343 | 157.1166 | 102.1166 | 0.27572 | 0.17091 | 2013-04-03
KN-221 | 2014-09-08 | 23:18 |  |  | 61° 39.462' N | 33° 4.630' W | 2976 | 4 | 18 | 32 | 3 | a | a | 04 / 03 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 369.3 | 229.2 | 0.88343 | 368.4166 | 228.3166 | 0.70233 | 0.29626 | 2013-04-03
KN-221 | 2014-09-08 | 23:18 |  |  | 61° 39.462' N | 33° 4.630' W | 2976 | 4 | 20 | 17 | 4 | a | a | 04 / 04 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 369.5 | 229.3 | 0.88343 | 368.6166 | 228.4166 | 0.70283 | 0.29619 | 2013-04-03
KN-221 | 2014-09-11 | 22:47 |  |  | 59° 55.501' N | 39° 30.505' W | 2247 | 5 | 13 | 23 | 1 | a | a | 05 / 01 | 1057 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 440.7 | 265.5 | 0.88343 | 439.8166 | 264.6166 | 0.87745 | 0.2788 | 2013-04-03
KN-221 | 2014-09-11 | 22:47 |  |  | 59° 55.501' N | 39° 30.505' W | 2247 | 5 | 18 | 15 | 2 | a | a | 05 / 02 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 428.2 | 259.7 | 0.88343 | 427.3166 | 258.8166 | 0.8447 | 0.28728 | 2013-04-03
KN-221 | 2014-09-11 | 22:47 |  |  | 59° 55.501' N | 39° 30.505' W | 2247 | 5 | 20 | 3 | 3 | a | a | 05 / 03 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 421.8 | 262.4 | 0.88343 | 420.9166 | 261.5166 | 0.79908 | 0.34471 | 2013-04-03
KN-221 | 2014-09-12 | 5:09 |  | 6:23 | 59° 57.71' N | 39° 28.51' W | 2706 | 6 | 2 | 2516 | 1 | a | a | 06 / 01 | 1057 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 7.099 | 5.761 | 0.88343 | 6.2156 | 4.8776 | 0.0067011 | 0.014612 | 2013-04-03
KN-221 | 2014-09-12 | 5:09 |  | 6:36 | 59° 57.71' N | 39° 28.51' W | 2706 | 6 | 8 | 2012 | 2 | a | a | 06 / 02 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 2.306 | 2.055 | 0.88343 | 1.4226 | 1.1716 | 0.0012583 | 0.0038658 | 2013-04-03
KN-221 | 2014-09-12 | 5:09 |  | 6:48 | 59° 57.71' N | 39° 28.51' W | 2706 | 6 | 13 | 1509 | 3 | a | a | 06 / 03 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 3.27 | 2.993 | 0.88343 | 2.3866 | 2.1096 | 0.0013886 | 0.007838 | 2013-04-03
KN-221 | 2014-09-12 | 5:09 |  | 7:18 | 59° 57.71' N | 39° 28.51' W | 2706 | 6 | 20 | 24 | 4 | a | a | 06 / 04 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 477.4 | 284.8 | 0.88343 | 476.5166 | 283.9166 | 0.96551 | 0.27625 | 2013-04-03
KN-221 | 2014-09-15 | 15:49 |  |  | 59° 55.165' N | 39° 25.736' W | 2737 | 7 | 13 | 23 | 1 | a | a | 07 / 01 | 1057 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 338.5 | 204.1 | 0.88343 | 337.6166 | 203.2166 | 0.67312 | 0.21485 | 2013-04-03
KN-221 | 2014-09-15 | 15:49 |  |  | 59° 55.165' N | 39° 25.736' W | 2737 | 7 | 18 | 15 | 2 | a | a | 07 / 02 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 327.3 | 202.4 | 0.88343 | 326.4166 | 201.5166 | 0.62613 | 0.25524 | 2013-04-03
KN-221 | 2014-09-15 | 15:49 |  |  | 59° 55.165' N | 39° 25.736' W | 2737 | 7 | 20 | 3.1 | 3 | a | a | 07 / 03 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 321.4 | 197.9 | 0.88343 | 320.5166 | 197.0166 | 0.61911 | 0.24258 | 2013-04-03
KN-221 | 2014-09-17 | 13:47 |  |  | 59° 46.281' N | 39° 38.479' W | 1347 | 9 | 10 | 403 | 1 | a | a | 09 / 01 | 1057 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 5.414 | 4.667 | 0.88343 | 4.5306 | 3.7836 | 0.0037412 | 0.012791 | 2013-04-03
KN-221 | 2014-09-17 | 13:47 |  |  | 59° 46.281' N | 39° 38.479' W | 1347 | 9 | 13 | 52 | 2 | a | a | 09 / 02 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 324.9 | 200.4 | 0.88343 | 324.0166 | 199.5166 | 0.62412 | 0.2485 | 2013-04-03
KN-221 | 2014-09-17 | 13:47 |  |  | 59° 46.281' N | 39° 38.479' W | 1347 | 9 | 18 | 33 | 3 | a | a | 09 / 03 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 339 | 205.3 | 0.88343 | 338.1166 | 204.4166 | 0.67024 | 0.22381 | 2013-04-03
KN-221 | 2014-09-17 | 13:47 |  |  | 59° 46.281' N | 39° 38.479' W | 1347 | 9 | 22 | surface |  |  |  | 09 / 04 | 1056 | 0 | 5 | 1 | 0 | 1 | Cal_040313_12mm | 1.8725 | 0.49332 | 337.2 | 199 | 0.88343 | 336.3166 | 198.1166 | 0.6928 | 0.1737 | 2013-04-03
Formulas:
Cal_Date = [1]Cal_040313_12mm!$A2

## Cal_040313_12mm
Calibration Date | Cruise_Site | Fluorometer | Personell | CALIBRATION | Blank_Acetone | AvgBlank | Dilution | ug_l | Flurometer_Before_Acid | Fluorometer_After_Acid | Fluorometer_Before_Acid-AvgBlank | Fluorometer_After_Acid-AvgBlank | Acid_Ratio__Before-AvgBlank/After-AvgBlank | Fd__Chl/Before-AvgBlank | tau | Fd
2013-04-03 | mvco | Turner Designs Aquafluor Handheld 800446 | taylor | Cal_040313_12mm | 0.856 | 0.84583 | full(on spec) | 10773.7983
[5 empty] | 0.983 |  | 20 | 538.6899 | 1093 | 579.5 | 1092.1542 | 578.6542 | 1.8874 | 0.49324 | 1.8725 | 0.49332 | 1.8725 | 1.9
[5 empty] | 0.913 |  | 40 | 269.345 | 543.4 | 299.2 | 542.5542 | 298.3542 | 1.8185 | 0.49644 |  |  | 1.8725 | 1.9
[5 empty] | 0.807 |  | 80 | 134.6725 | 279.8 | 150.1 | 278.9542 | 149.2542 | 1.869 | 0.48278 | old averages |  | 1.8725 | 1.9
[5 empty] | 0.578 |  | 160 | 67.3362 | 137.8 | 74.68 | 136.9542 | 73.8342 | 1.8549 | 0.49167 | 1.9146 | 0.5102 | 1.8725 | 1.9
[5 empty] | 0.938 |  | 320 | 33.6681 | 68.71 | 37.42 | 67.8642 | 36.5742 | 1.8555 | 0.49611 |  |  | 1.8725 | 1.9
[7 empty] | 640 | 16.8341 | 34.06 | 18.84 | 33.2142 | 17.9942 | 1.8458 | 0.50683 |  |  | 1.8725 | 1.9
[7 empty] | 1280 | 8.417 | 17.48 | 9.536 | 16.6342 | 8.6902 | 1.9141 | 0.50601 |  |  | 1.8725 | 1.9
[7 empty] | 2560 | 4.2085 | 9.127 | 5.171 | 8.2812 | 4.3252 | 1.9146 | 0.5082 |  |  | 1.8725 | 1.9
[7 empty] | 5120 | 2.1043 | 5.121 | 2.972 | 4.2752 | 2.1262 | 2.0107 | 0.4922 |  |  | 1.8725 | 1.9
[7 empty] | 10240 | 1.0521 | 2.942 | 1.784 | 2.0962 | 0.93817 | 2.2343 | 0.50193 |  |  | 1.8725 | 1.9
[7 empty] | 20480 | 0.52606 | 1.672 | 1.291 | 0.82617 | 0.44517 | 1.8559 | 0.63675 |  |  | 1.8725 | 1.9
[6 empty] | 2013-03-27 | 520.2589 | 522.084 | [7 empty] | *** The 1/20 dilution was done using a 5ml volumetric flask of chl-a stock into 100ml volumetric diluted with 90% acetone
[7 empty] | 0.048289 | 0.048459
[7 empty] | 20.7085 | 20.6361
[6 empty] | 2013-03-26 | 655.9017
9.7407
0.10266
0.99219
0.95539
1.0469
0.98405